- Facade channel BG-FLEX FA RB 130 made of galvanized steel or stainless steel 1.4301, walkable and wheel chair accessible,

according to Austrian standard B3691:2019,

length 500, 1000 mm, 2000 mm, both-side perforated or non-perforated channel,

Delivery and installation according to the manufacturer's installation instructions.

Channel type:		LxWxH: [mm]		weight: [kg]

RB 130, H 80:		  500x130x80		1,4

RB 130, H 80:		1000x130x80		2,5

RB 130, H 80:		2000x130x80		5,0

RB 130, H 180:	1000x130x80		4,1

RB 130, H 180:	2000x130x80		8,1

- Covers/Grates made of galvanised steel or stainless steel 1.4301, optional screw connection

BG-FLEX FA mesh grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, MW 30/10, length 1000 mm

BG-FLEX FA mesh grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, MW 30/10, length 500 mm

BG-FLEX FA perforated grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, Ø 6mm, length 1000 mm

BG-FLEX FA perforated grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, Ø 6mm, length 500 mm

BG-FLEX FA slotted grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, SW 9/85, length 1000 mm

BG-FLEX FA slotted grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, SW 9/85, length 500 mm

BG-FLEX FA longitudinal bar grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, bar distance 10mm, length 1000 mm

BG-FLEX FA longitudinal bar grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, bar distance 10mm, length 500 mm

BG-FLEX FA cross bar grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, bar distance 10mm, length 1000 mm

BG-FLEX FA cross bar grating RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, bar distance 10mm, length 500 mm

BG-FLEX FA design grating “rays” RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, length 1000 mm

BG-FLEX FA design grating “rays” RB 130, galvanized steel or stainless steel

walkable and wheelchair accessible, length 500 mm

- Outlet unit made of galvanized steel or stainless steel 1.4301

Bottom outlet DN 75

length 1000 mm / width 130 mm / height 80 or 180 mm

Delivery and installation according to the manufacturer's installation instructions.

height   80:		2,6 kg

height 180:		4,3 kg

- front cap closed, made of galvanised steel or stainless steel 1.4301

H 80:		0,1 kg

H 180:		0,2 kg

- corner element made of galvanized steel or stainless steel 1.4301

H 80:		2,1 kg

- KIT-bolting material for mesh grating and longitudinal bar grating, made of stainless steel 1.4301, consisting of clamp, srew and nut (requirement: 2 pcs./m)

- Gully top made of galvanized steel or stainless steel 1.4301, with fixed or variable height:

size 250/250 mm

H 50:		1,9 kg

H 70-100:		2,6 kg

H 100-160:		2,9 kg

size 400/400 mm

H 50:		2,4 kg

H 70-100:		3,3 kg

H 100-160:		4,1 kg

- Grating for gully top made of galvanized steel or stainless steel 1.4301, mesh grating MW 30/10, H 20 mm

size 250/250 mm	1,3 kg

size 400/400 mm	2,5 kg

- Branch canal made of galvanized steel or stainless steel 1.4301, L 1000/2000 mm, W 90 mm, H 30 mm

- Gravel stop made of aluminium, L 2000 mm, B/H 50/30 mm or 80/50 mm